## Request
Output FHEM Logfile
Entweder SBFspot oder FHEM Log ausfüllen
Output SBFspot | 534D4100000402A00000000100260010606509A0FFFFFFFFFFFF00007D00E2D41335000000000000078000020051005A2900FF5A290000000000
00000000: 53 4D 41 00 00 04 02 A0 00 00 | 534D4100000402A00000 | Decrypt |  |  | Länge | 58
00000010: 00 01 00 26 00 10 60 65 09 A0 | 000100260010606509A0 | Position |  | Substring | Value (Hex) | Value (Dec)
00000020: FF FF FF FF FF FF 00 00 7D 00 | FFFFFFFFFFFF00007D00 | 0 | 0 | 534D4100 | 00414D53 |  | SMA header
00000030: E2 D4 13 35 00 00 00 00 00 00 | E2D41335000000000000 | 4 | 8 | 000402A0 | A0020400 |  | SMA header
00000040: 07 80 00 02 00 51 00 5A 29 00 | 078000020051005A2900 | 8 | 16 | 00000001 | 01000000 |  | SMA header
00000050: FF 5A 29 00 00 00 00 00 | FF5A290000000000 | 12 | 24 | 00 | 00 |  | Null
|  | 13 | 26 | 26 | 26 | 38 | Paketlänge nach Header
|  | 14 | 28 | 00106065 | 65601000 |  | ETH_L2SIGNATURE
|  | 18 | 36 | 09A0 | A009 |  | Longwords + Ctrl
|  | 20 | 40 | FFFF | FFFF | 65535 | Ziel SusyID (FFFFF = any SusyID)
|  | 22 | 44 | FFFFFFFF | FFFFFFFF | 4294967295 | Ziel Serial (FF… is any)
|  | 26 | 52 | 0000 | 0000 |  | Ctrl2
|  | 28 | 56 | 7D00 | 007D | 125 | Eigene SusyID (FFFFF = any SusyID)
|  | 30 | 60 | E2D41335 | 3513D4E2 | 890492130 | Eigene Serial (FF… is any)
|  | 34 | 68 | 0000 | 0000 |  | Ctrl2
|  | 36 | 72 | 00000000 | 00000000 | 0 | Null, wenn kein Fehler, sonst FFFF
|  | 40 | 80 | 0780 | 8007 | 32775 | [Packet ID] OR 0x8000
|  | 42 | 84 | 00020051 | 51000200 |  | Command
|  | 46 | 92 | 005A2900 | 00295A00 |  | First
|  | 50 | 100 | FF5A2900 | 00295AFF |  | Last
|  | 54 | 108 | 00000000 | 00000000 | 0 | Trailer (0)
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0
|  | 58 | 116 |  |  | 0

## Response
Output FHEM Logfile
Entweder SBFspot oder FHEM Log ausfüllen
Output SBFspot | 534D4100000402A00000000100420010606510907D00E2D4133500A04C0126A1294B000000000000078001020051005A2900005A2900075A29006CDF8D57610000006100000061000000610000000100000000000000
00000000: 53 4D 41 00 00 04 02 A0 00 00 | 534D4100000402A00000 | Decrypt |  |  | Länge | 86
00000010: 00 01 00 42 00 10 60 65 10 90 | 00010042001060651090 | Position |  | Substring | Value (Hex) | Value (Dec)
00000020: 7D 00 E2 D4 13 35 00 A0 4C 01 | 7D00E2D4133500A04C01 | 0 | 0 | 534D4100 | 00414D53 |  | SMA header
00000030: 26 A1 29 4B 00 00 00 00 00 00 | 26A1294B000000000000 | 4 | 8 | 000402A0 | A0020400 |  | SMA header
00000040: 07 80 01 02 00 51 00 5A 29 00 | 078001020051005A2900 | 8 | 16 | 00000001 | 01000000 |  | SMA header
00000050: 00 5A 29 00 07 5A 29 00 6C DF | 005A2900075A29006CDF | 12 | 24 | 00 | 00 |  | Null
00000060: 8D 57 61 00 00 00 61 00 00 00 | 8D576100000061000000 | 13 | 26 | 42 | 42 | 66 | Paketlänge nach Header
00000070: 61 00 00 00 61 00 00 00 01 00 | 61000000610000000100 | 14 | 28 | 00106065 | 65601000 |  | ETH_L2SIGNATURE
00000080: 00 00 00 00 00 00 | 000000000000 | 18 | 36 | 1090 | 9010 |  | Longwords + Ctrl
|  | 20 | 40 | 7D00 | 007D | 125 | Ziel SusyID
|  | 22 | 44 | E2D41335 | 3513D4E2 | 890492130 | Ziel Serial
|  | 26 | 52 | 00A0 | A000 |  | Ctrl2
|  | 28 | 56 | 4C01 | 014C | 332 | Eigene SusyID
|  | 30 | 60 | 26A1294B | 4B29A126 | 1261019430 | Eigene Serial
|  | 34 | 68 | 0000 | 0000 |  | Ctrl2
|  | 36 | 72 | 00000000 | 00000000 | 0 | Null, wenn kein Fehler, sonst FFFF
|  | 40 | 80 | 0780 | 8007 | 32775 | [Packet ID] OR 0x8000
|  | 42 | 84 | 01020051 | 51000201 |  | Command
|  | 46 | 92 | 005A2900 | 00295A00 |  | First
|  | 50 | 100 | 005A2900 | 00295A00 |  | Last
|  | 54 | 108 | 07 | 07 | 7
|  | 55 | 110 | 5A29 | 295A | 0x00295A00 | Daten-Identifier
|  | 57 | 114 | 00 | 00 | 0
|  | 58 | 116 | 6CDF8D57 | 578DDF6C | 1468915564 | Epoch Time Format
|  | 62 | 124 | 61000000 | 00000061 | 97 | Data
|  | 66 | 132 | 61000000 | 00000061 | 97
|  | 70 | 140 | 61000000 | 00000061 | 97
|  | 74 | 148 | 61000000 | 00000061 | 97
|  | 78 | 156 | 01000000 | 00000001 | 1
|  | 82 | 164 | 00000000 | 00000000 | 0
|  | 86 | 172 |  |  | 0
|  | 86 | 172 |  |  | 0
|  | 86 | 172 |  |  | 0
|  | 86 | 172 |  |  | 0
|  | 86 | 172 |  |  | 0
|  | 86 | 172 |  |  | 0
|  | 86 | 172 |  |  | 0
|  | 86 | 172 |  |  | 0
|  | 86 | 172 |  |  | 0
|  | 86 | 172 |  |  | 0
|  | 86 | 172 |  |  | 0
|  | 86 | 172 |  |  | 0
|  | 86 | 172 |  |  | 0
|  | 86 | 172 |  |  | 0

## Daten Identifier
Name | Identifier | Data Type | Description
OperationHealth | 0x00214800 | SPECIAL | Condition (aka INV_STATUS)
CoolsysTmpNom | 0x00237700 | SLONG | Operating condition temperatures
DcMsWatt | 0x00251E00 | SLONG | DC power input (aka SPOT_PDC1 / SPOT_PDC2)
MeteringTotWhOut | 0x00260100 | LONG | Total yield (aka SPOT_ETOTAL)
MeteringDyWhOut | 0x00262200 | LONG | Day yield (aka SPOT_ETODAY)
GridMsTotW | 0x00263F00 | SLONG | Power (aka SPOT_PACTOT)
BatChaStt | 0x00295A00 | LONG | Current battery charge status
OperationHealthSttOk | 0x00411E00 | LONG | Nominal power in Ok Mode (aka INV_PACMAX1)
OperationHealthSttWrn | 0x00411F00 | LONG | Nominal power in Warning Mode (aka INV_PACMAX2)
OperationHealthSttAlm | 0x00412000 | LONG | Nominal power in Fault Mode (aka INV_PACMAX3)
OperationGriSwStt | 0x00416400 | SPECIAL | Grid relay/contactor (aka INV_GRIDRELAY)
OperationRmgTms | 0x00416600 | LONG | Waiting time until feed-in
DcMsVol | 0x00451F00 | SLONG | DC voltage input (aka SPOT_UDC1 / SPOT_UDC2)
DcMsAmp | 0x00452100 | SLONG | DC current input (aka SPOT_IDC1 / SPOT_IDC2)
MeteringPvMsTotWhOut | 0x00462300 | LONG | PV generation counter reading
MeteringGridMsTotWhOut | 0x00462400 | LONG | Grid feed-in counter reading
MeteringGridMsTotWhIn | 0x00462500 | LONG | Grid reference counter reading
MeteringCsmpTotWhIn | 0x00462600 | LONG | Meter reading consumption meter
MeteringGridMsDyWhOut | 0x00462700 | LONG | ?
MeteringGridMsDyWhIn | 0x00462800 | LONG | ?
MeteringTotOpTms | 0x00462E00 | LONG | Operating time (aka SPOT_OPERTM)
MeteringTotFeedTms | 0x00462F00 | LONG | Feed-in time (aka SPOT_FEEDTM)
MeteringGriFailTms | 0x00463100 | LONG | Power outage
MeteringWhIn | 0x00463A00 | LONG | Absorbed energy
MeteringWhOut | 0x00463B00 | LONG | Released energy
MeteringPvMsTotWOut | 0x00463500 | SLONG | PV power generated
MeteringGridMsTotWOut | 0x00463600 | SLONG | Power grid feed-in
MeteringGridMsTotWIn | 0x00463700 | SLONG | Power grid reference
MeteringCsmpTotWIn | 0x00463900 | SLONG | Consumer power
GridMsWphsA | 0x00464000 | SLONG | Power L1 (aka SPOT_PAC1)
GridMsWphsB | 0x00464100 | SLONG | Power L2 (aka SPOT_PAC2)
GridMsWphsC | 0x00464200 | SLONG | Power L3 (aka SPOT_PAC3)
GridMsPhVphsA | 0x00464800 | LONG | Grid voltage phase L1 (aka SPOT_UAC1)
GridMsPhVphsB | 0x00464900 | LONG | Grid voltage phase L2 (aka SPOT_UAC2)
GridMsPhVphsC | 0x00464A00 | LONG | Grid voltage phase L3 (aka SPOT_UAC3)
GridMsAphsA_1 | 0x00465000 | LONG | Grid current phase L1 (aka SPOT_IAC1)
GridMsAphsB_1 | 0x00465100 | LONG | Grid current phase L2 (aka SPOT_IAC2)
GridMsAphsC_1 | 0x00465200 | LONG | Grid current phase L3 (aka SPOT_IAC3)
GridMsAphsA | 0x00465300 | LONG | Grid current phase L1 (aka SPOT_IAC1_2)
GridMsAphsB | 0x00465400 | LONG | Grid current phase L2 (aka SPOT_IAC2_2)
GridMsAphsC | 0x00465500 | LONG | Grid current phase L3 (aka SPOT_IAC3_2)
GridMsHz | 0x00465700 | LONG | Grid frequency (aka SPOT_FREQ)
MeteringSelfCsmpSelfCsmpWh | 0x0046AA00 | LONG | Energy consumed internally
MeteringSelfCsmpActlSelfCsmp | 0x0046AB00 | LONG | Current self-consumption
MeteringSelfCsmpSelfCsmpInc | 0x0046AC00 | LONG | Current rise in self-consumption
MeteringSelfCsmpAbsSelfCsmpInc | 0x0046AD00 | LONG | Rise in self-consumption
MeteringSelfCsmpDySelfCsmpInc | 0x0046AE00 | LONG | Rise in self-consumption today
BatDiagCapacThrpCnt | 0x00491E00 | SLONG | Number of battery charge throughputs
BatDiagTotAhIn | 0x00492600 | LONG | Amp hours counter for battery charge
BatDiagTotAhOut | 0x00492700 | LONG | Amp hours counter for battery discharge
BatTmpVal | 0x00495B00 | SLONG | Battery temperature
BatVol | 0x00495C00 | SLONG | Battery voltage
BatAmp | 0x00495D00 | SLONG | Battery current
NameplateLocation | 0x00821E00 | TEXT | Device name (aka INV_NAME)
NameplateMainModel | 0x00821F00 | SPECIAL | Device class (aka INV_CLASS)
NameplateModel | 0x00822000 | SPECIAL | Device type (aka INV_TYPE)
NameplateAvalGrpUsr | 0x00822100 |  | Unknown
NameplatePkgRev | 0x00823400 | SPECIAL | Software package (aka INV_SWVER)
InverterWLim | 0x00832A00 | LONG | Maximum active power device (aka INV_PACMAX1_2) (Some inverters like SB3300/SB1200)
GridMsPhVphsA2B6100 | 0x00464B00
GridMsPhVphsB2C6100 | 0x00464C00
GridMsPhVphsC2A6100 | 0x00464D00

## Kommandos
Command | First | Last | Description | Name in SBFspot
0x54000200 | 0x00260100 | 0x002622FF | EnergyProduction | SPOT_ETODAY, SPOT_ETOTAL
0x53800200 | 0x00251E00 | 0x00251EFF | SpotDCPower | SPOT_PDC1, SPOT_PDC2
0x53800200 | 0x00451F00 | 0x004521FF | SpotDCVoltage | SPOT_UDC1, SPOT_UDC2, SPOT_IDC1, SPOT_IDC2
0x51000200 | 0x00464000 | 0x004642FF | SpotACPower | SPOT_PAC1, SPOT_PAC2, SPOT_PAC3
0x51000200 | 0x00464800 | 0x004655FF | SpotACVoltage | SPOT_UAC1, SPOT_UAC2, SPOT_UAC3, SPOT_IAC1, SPOT_IAC2, SPOT_IAC3
0x51000200 | 0x00465700 | 0x004657FF | SpotGridFrequency | SPOT_FREQ
0x51000200 | 0x00411E00 | 0x004120FF | MaxACPower | INV_PACMAX1, INV_PACMAX2, INV_PACMAX3
0x51000200 | 0x00832A00 | 0x00832AFF | MaxACPower2 | INV_PACMAX1_2
0x51000200 | 0x00263F00 | 0x00263FFF | SpotACTotalPower | SPOT_PACTOT
0x58000200 | 0x00821E00 | 0x008220FF | TypeLabel | INV_NAME, INV_TYPE, INV_CLASS
0x58000200 | 0x00823400 | 0x008234FF | SoftwareVersion | INV_SWVERSION
0x51800200 | 0x00214800 | 0x002148FF | DeviceStatus | INV_STATUS
0x51800200 | 0x00416400 | 0x004164FF | GridRelayStatus | INV_GRIDRELAY
0x54000200 | 0x00462E00 | 0x00462FFF | OperationTime | SPOT_OPERTM, SPOT_FEEDTM
0x51000200 | 0x00295A00 | 0x00295AFF | BatteryChargeStatus
0x51000200 | 0x00491E00 | 0x00495DFF | BatteryInfo
0x52000200 | 0x00237700 | 0x002377FF | InverterTemperature
0xFFF50200 | 0x00000000 | 0xFFFFFFFF | MultigateDevices